## Slide 1: Hydropower Project
Created by Andrey Samoilov, Matthew Hissett, Ben Ebberson, James Henshall and Poyraz Cimen.
For the Mott MacDonald Hydropower Challenge Project

## Slide 2: Introduction
What is hydropower?
Hydropower is a form of electricity generation that uses falling or flowing water to turn the blades of a turbine.
These blades then spin a generator that converts the mechanical energy from the turbine into electrical energy

## Slide 3: Renewable Energy
Our hydropower project will provide 75 thousand people with renewable energy and will contribute to society and technological development in Georgia without the harm of environment.

## Slide 4: Design
We designed our dam to have a straight shape with a walkway on top to connect the two sides of the river

## Slide 5: Foundation
We analysed soil using SPT analysis and found that the optimum depth for the foundations is 4 metres.
Anything deeper than this would be more expensive and would not affect the reliability of the structure.
At the depth we chose the angle of internal friction is 36o, which gives a large gap between the point of failure and the construction angle of the foundations

## Slide 6: Turbine
We placed the turbine close to the dam to allow for greater future expandability
This idea made us decide to place the turbine next to the nearby town of Khulo
The turbine we chose was the Francis because it was the best suited for the environment

## Slide 7: Environmental Impacts
One of the key impacts of the dam is that farmland would be lost during the process of building the tunnel. To resolve this issue, we decided to bore through a mountain and sell the materials acquired in the process.

## Slide 8: Flow rate of the river
The dam is located on the confluence of two rivers which have a total flow rate of 20m/s2, this provides a strong flow to power the turbine and water stored in the reservoir can be used for irrigation to boost the crop productivity in the local area.